## ECS-5103-CC-BB-AA-TT
100 AMP POWER DISTRIBUTION PANEL
<@HEADER> | <@PROCESSOR 'A3'> | <@PANEL 'B3'> | <@DISCONNECT 'C3'> | <@TOTALAMP 'D3'> | <@480BREAKER 'E3'> | <@480BREAKERNAME 'F3'> | <@480AMPS 'G3'> | <@120DRAW 'H3'> | <@120BREAKER 'I3'> | <@120AMPS 'J3'> | <@480DEV 'K3'> | <@480DEVAMPS 'L3'> | <@120DEV 'M3'> | <@120DEVAMPS 'N3'> | <@24DEV 'O3'> | <@24DEVAMPS 'P3'> | <@4OCTET 'Q3'> | <@ESW 'R3'> | <@SWPORT 'S3'> | <@INSTANCE 'T3'> | <@ZONE 'U3'> | <@ENDHEADER>
PLC Processor Zone | Power Panel | Max Panel AMPS | Panel AMPS | Circuit Breaker Size | 480VAC Circuit Breaker | 480VAC Circuit Breaker AMPS | 120VAC Transformer Draw | 120VAC Circuit Breaker | 120VAC Circuit Breaker AMPS | 480VAC Device | 480VAC Device AMPS | 120VAC Device | 120VAC Device AMPS | 24VDC Device | 24VDC Device AMPS | 4th Octet | Ethernet Switch | Switch Port | Port Instance | Zone
| *PDP Number* | 100 | 73
|  |  |  | 15 / 30 | E152CB | 22
[10 empty] | AAyyM1 | 10
[10 empty] | AAyyM2 | 12
|  |  |  | 15 / 30 | E158CB | 26
[10 empty] | AAxxM1 | 10
[10 empty] | AAxxM2 | 12
[10 empty] | AAxxM3 | 4
|  |  |  | 15 / 30 | E164CB | 25
[10 empty] | AAzzM1 | 5
[10 empty] | AAzzM2 | 5
[10 empty] | AAxxM3 | 5
[10 empty] | AAzzM4 | 5
[10 empty] | AAzzM5 | 5
|  |  |  | 15 / 30 | E170CB | 0
|  |  |  | 15 / 30 | E176CB | 0
|  |  |  | 15 / 30 | E182CB | 0
|  |  |  | 15 / 30 | E202CB | 0
|  |  |  | 15 / 30 | E208CB | 0
|  |  |  | 15 / 30 | E214CB | 0
|  |  |  | 60 | E352CB | 0
|  |  |  | 60 | E358CB | 0
|  |  | Below Disconnect | 5KVA | E500T |  | 30
[8 empty] | E552CB | 8
[12 empty] | AAyyPS1 | 2 |  | 0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
[12 empty] | AAyyPS2 | 2 |  | 0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
[12 empty] | AAyyPS3 | 2 |  | 0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
[12 empty] | AAyyPS4 | 2 |  | 0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
[8 empty] | E556CB | 10
[12 empty] | AAxxPS1 | 2 |  | 0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
[12 empty] | AAxxPS2 | 2 |  | 0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
[12 empty] | AAxxPS3 | 2 |  | 0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
[12 empty] | AAxxPS4 | 2 |  | 0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
[12 empty] | AAxxPS5 | 2 |  | 0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
[8 empty] | E560CB | 12
[12 empty] | AAzzPS1 | 2 |  | 0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
[12 empty] | AAzzPS2 | 2 |  | 0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
[12 empty] | AAzzPS3 | 2 |  | 0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
[12 empty] | AAzzPS4 | 2 |  | 0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
[12 empty] | AAzzPS5 | 2 |  | 0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
[12 empty] | AAzzPS6 | 2 |  | 0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
[8 empty] | E564CB | 0
0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
0
[6 empty] | 0 |  |  |  | AS1
[6 empty] | 0 |  |  |  | AS2
|  |  | Above Disconnect | 3KVA | E400T |  | 0
[8 empty] | E452CB | 0
[8 empty] | E456CB | 0
[8 empty] | E460CB | 0
[8 empty] | E464CB | 0